## Slide 1: Flushing to Address Legionella Concerns Resulting from Extended Building Shutdowns
Drs. Raymond M. Hozalski and
Timothy M. LaPara
University of Minnesota

## Slide 2: Legionella and Legionnaire's Disease
Source: Schoen and Ashbolt (2011)
Minneapolis VA taking steps to clean water system of Legionnaires disease bacteria Star Tribune, Nov 27, 2015
www.pacificwater.com.au

## Slide 3: Need for the project
  Legionella are a serious and growing public health concern but can be controlled with residual chlorine, which is intentionally put in the water by public utilities to prevent this and other problems
  Extended building closures due to the COVID-19 pandemic results in water stagnation in building plumbing systems
  When water stagnates, the residual chlorine dissipates, potentially allowing Legionella to grow

## Slide 4: Research Questions
How bad is the problem?
  Quantify opportunistic pathogens in stagnant water
How should we flush to improve water quality?
  Effects of time (or volume) and temperature

## Slide 5: Project Team and Partners
U. Minnesota Facilities Management
  Contact: Anita Anderson
Ray Hozalski and Tim LaPara have worked together for ~20 years